## Cover
MEMBRANE SURFACE PLANT MONTHLY OPERATIONAL REPORT
TO ALABAMA DEPARTMENT OF ENVIRONMENTAL MANAGEMENT
MONTGOMERY, ALABAMA
Month & Year
Water System Name
Water Treatment Plant Name
PWSID #AL000????
RAW WATER SOURCE
Source Name
PLANT CAPACITY
Capacity MGD
Please make sure to upload your MOR to the eDWR Website:
https://app.adem.alabama.gov/edwr/default.aspx

## Page 1
MONTHLY MEMBRANE PLANT OPERATION DATA REPORT TO ALABAMA DEPARTMENT OF ENVIRONMENTAL MANAGEMENT
| Month |  |  |  | System Name | System Name | [9 empty] | Plant Name | Plant Name
| Year |  |  |  | PWS-ID | 0 | 0 | 0 | 1 | 2 | 3 | 4 |  |  |  | Raw Source | Source Name
Day | Pumping Rate |  |  |  | WATER QUALITY CONTROL TESTS
| Raw Water Pumped (X1000 gal) | Backwash Water (X1000 gal) | Finished Water to System (X1000 gal) | Maximum Flow (gpm) | Iron |  | Mn |  | Total Alkalinity |  | Temp | pH |  |  | CO2 | Color |  | CL02 | Chlorite (CLO2 Byproduct) | Cl2 Residual (Minimum)
[5 empty] | RAW | FIN | RAW | FIN | RAW | FIN | C | RAW | SET | FIN | RAW | RAW | FIN | PPM | PPM | FIN
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOT | 0 | 0 | 0 | 0
AVG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Water Sold ( X1,000 gal ) |  | Unaccounted Water ( X1,000 gal ) |  | RAW: 0; FIN: Percent Water Loss; FIN: 0%; FIN: Signed:; RAW: Title:

## Page 2
MONTHLY MEMBRANE PLANT OPERATION DATA REPORT TO ALABAMA DEPARTMENT OF ENVIRONMENTAL MANAGEMENT
| Month |  |  |  |  | System Name | [8 empty] | Plant Name
| Year |  |  |  |  | PWS-ID | 0 | 0 | 0 | 1 | 2 | 3 | 4
CHEMICAL FEED RATES
Day | ALUM |  | Polymer |  | Lime, Caustic or Soda Ash (Please Indicate Which One) |  |  |  | Chlorine | [5 empty] | Carbon or KMNO4 (Please Indicate Which One) |  | Fluoride |  |  | Corrosion Inhibiter
[5 empty] | RAW | RAW | TREATED | TREATED | RAW | RAW | SET | SET | TREATED | TREATED
| LBS/DAY | PPM | LBS/DAY | PPM | LBS/DAY | PPM | LBS/DAY | PPM | LBS/DAY | PPM | LBS/DAY | PPM | LBS/DAY | PPM | LBS/DAY | PPM | LBS/DAY | PPM | Test | LBS/DAY | PPM
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Avg | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Max | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Min | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Page 3
MONTHLY TURBIDITY OPERATION DATA REPORT TO ALABAMA DEPARTMENT OF ENVIRONMENTAL MANAGEMENT
| Month |  |  |  | System Name | [7 empty] | Plant Name |  |  |  |  | Number of Membrane Trains
| Year |  |  |  | PWS-ID | 0 | 0 | 0 | 1 | 2 | 3 | 4 |  | Membrane Modules/ Train |  |  |  | Max Transmembrane Pressure
Day | Raw | MAX CLARIFIED WATER TURBIDITY |  |  |  | HIGHEST RECORDED MEMBRANE EFFLUENT TURBIDITY | [7 empty] | HOURS OF MEMBRANE OPERATION
| Max | Basin 1 | Basin 2 | Basin 3 | Basin 4 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Avg | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Max | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Min | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Page 4
MONTHLY MEMBRANE OPERATIONAL DATA REPORT TO ALABAMA DEPARTMENT OF ENVIRONMENTAL MANAGEMENT
| Month |  |  |  |  | System Name | [9 empty] | Plant Name
| Year |  |  |  |  | PWS-ID | 0 | 0 | 0 | 1 | 2 | 3 | 4 |  | Direct Integrity Test Limit
Day | MINUTES EACH MEMBRANE BACKWASHED | [7 empty] | MAXIMUM TRANSMEMBRANE PRESSURE | [7 empty] | DIRECT INTEGRITY TEST RESULTS
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31

## Page 5
Alabama Department of Environmental Management
Drinking Water Branch
Surface Water Membrane Treatment Plant Monthly Report
Additional Reporting Requirements
System Name
PWSID
Plant Name
Month & Year
Total Number of Filtered Water Measurements
Number of Required Filtered Water Measurements
Number of Filtered Water Measurements > 0.3 NTU
If Above 0.3 NTU, Was Any 2 Consecutive Measurements >0.3NTU?
If Yes, Date When ADEM Was Notified.
Was Any Filtered Water Measurement > 0.5 NTU?
If YES, Were Any 2 Consecutive Measurements > 0.5 NTU?
If YES, Was a Filter Profile Completed?
Date Filter Profile Was Submitted to ADEM.
Was Any Filtered Water Measurement > 1.0 NTU?
If Yes, When Was ADEM Notified?
At any time during the month, did the residual disinfectant concentration of water leaving the plant ever fall below 1.0 mg/L for chlorine or 2.0 mg/L for chloramine?
If YES, did it last more than 4.0 consecutive hours?
If YES, report the date when ADEM was notified.
At any time during the month, did the plant fail to meet its CT Requirement?
If YES, report the date when ADEM was notified.
What Was the Minimum Disinfectant Residual Detected in the Distribution System?
What Was the Maximum Disinfectant Residual in the Distribution System?
Was there any failure in any continuous monitoring turbidimeters?
If YES, was turbidity recorded every two hours by other means?
If YES, was the unit repaired within 48 hours?
Was each continuous online turbidimeter's accuracy verified weekly?
Was each benchtop turbidimeter's accuracy verified daily?
Is all waste water sent to a waste water treatment plant?
At any point is any waste water recycled in the treatment process?
At any time the did the membrane effluent turbidity exceed 0.15 NTU?
If yes, was the turbidity still above 0.15 NTU within 15 minutes?
If yes, was the membrane unit removed from service?
If yes, when was the Department notified?
If yes, which membrane(s)? (List train and/or module number)
If yes, did the unit pass two direct integrety tests before being returned to service?
At any time did any membrane unit fail a direct integrity test?
If yes, when was the Department notified?
If yes, which membrane(s)? (List train and/or module number)
If yes, did the unit pass two direct integrety tests before being returned to service?
Comments:
I hereby certify that all information contained within this report is accurate to the best of my ability.
| Signature |  | Title
| Printed Name |  | Date
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES

## Page 6
Alabama Department of Environmental Management
Drinking Water Branch
Surface Water Treatment Plant Monthly Report
Additional EPA Reporting Requirements
System Name
PWSID
Plant Name
Month & Year
Additional EPA Turbidity Questions
Number of samples that exceeded 1.0 NTU?
If any above 1.0 NTU, was any filter above 1.0 NTU in 2 consecutive measurements?
If any above 1.0 NTU, was any filter above 1.0 NTU in 3 consecutive months?
If any above 1.0 NTU, was any filter above 2.0 NTU in 2 consecutive months?
Was any filter turbidity greater than 0.5 NTU after on-line for more than 4 hours?
Additional EPA Disinfection Questions
| Number of entry point chlorine samples analyzed? |  | (Continuous monitoring = 1 sample/15 mintues)
Number of entry point chlorine samples below 0.2 mg/L?
Number of entry point chlorine samples below 1.0 mg/L?
Number of entry point chlorine samples below limit on operating permit?
| Additional EPA Chlorine Dioxide/Chlorite Questions |  | (Only fill this section out if you are using chlorine dioxide)
Number of chlorine dioxide samples collected?
Number of chlorine dioxide samples that exceeded 0.8 mg/L?
Number of chlorite samples collected
Number of chlorite samples that exceeded 1.0 mg/L?
YES
NO
YES
YES
YES
NO
NO
NO